Water Heater Cheat Sheet

**Did You Include?**

1. Vent Kit
2. Condensate Kits
3. Relief Valves on Each Tank (Check Tapping Size and PSI Required)
4. Return Pumps with Flanges – Low Temp. And High Temp.
5. Aquastats
6. Expansion Tanks
7. Mixing Valves with Gages (See Below)
8. **Freight**
9. **Start- Up**

**THERMOMETERS**

**Model Dial Size Ordering # Range Probe List Quote Price WMS Cost**

TA-9 3-1/2 0617002 0-160 3-1/2” $114.70 $68.82 $28.50

**Note**: Use 1 for Each Tank & 1 for Each Return Line

**Note**: Includes Thermowell

Solar Operated Digital Tries SX9 $40.00 (VJ Stanley)

**T& P GAUGES**

**Model Dial Size Ordering # Range List Quote Price WMS Cost**

DPTG-3 3” 0615631 60-320 $168.90 $101.34 $19.00

DPTG-3 3” 0615632 60-320 $168.90 $101.34 $19.00

**Note**: Above DPTG are Back Entry

**Note**: Use 2 for Each Mixing Valve-Outlet and Cold Inlet